## Slide 1
Alternatives to manual fiducializing: Rule-based fiducializing
Problem: Beats can vary in morphology:
Rule based fiducializing can fail, especially on ischemic electrograms
ADVANTAGE OF OUR METHOD
PFEIFER: A MATLAB Based Platform for Preprocessing Cardiac Electrograms
Patient recordings
Animal experiments
Raw cardiac time signals
GUI based cardiac signal processing toolbox
Setup PFEIFER
Import cardiac time signals
& choose processing tasks.
BEAT ISOLATION:
Use your mouse to select the start & end of a beat in RMS of signal.
MANUAL FIDUCIALIZING:
Mark fiducials within a beat using your mouse.
AUTOMATIC FIDUCIALIZING:
Manual fiducial is used to automatically fiducialize the next 30-50 beats
Tracking of the ST segment over an intervention
B. Zenger1,2; W. Good1,2; A. Rodenhauser1; R. MacLeod, PhD1,2
1 Scientific Computing and Imaging Institute, University of Utah, Salt Lake City, UT
2 Department of Bioengineering, University of Utah, Salt Lake City, UT
Time (ms)
Potential (mV)
removed signal drift
removed signal noise
marking of specific time instants QRST (fiducials)
other preprocessing tasks
Processed cardiac time signals
PURPOSE OF PFEIFER
TYPICAL WORK FLOW
Time (ms)
Potential (mV)
Q
S
R
T
BENEFIT OF PFEIFER
Healthy signal
Mild ST segment elevation
Moderate ST segment elevation
Severe ST segment elevation
The manual approach:
Mark fiducials manually ( ) once every 15 seconds.
Leave beats in between unfiducialized ( ).
The PFEIFER approach:
PFEIFER autofiducializes ( )
beats in between manually fiducialized beats ( ).
Begin
intervention
End
intervention
Timeline
Acknowledgements:
  Support for this work was provided in part by the NIH/NCRR Center of Integrative Biomedical Computing (CIBC), 2P41 RR0112553-12
VALIDATION
With Autofiducializing
Without Autofiducializing
15 seconds
30-50 Beats
Number of Fiducialized Beats
Number of Fiducialized Beats